| GENERAL MESSAGE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TO: ARLINGTON ACS |  |  | POSITION: ALL GROUPS AND DIVISIONS |  |  |
| FROM: KE4SKY |  |  | POSITION: ARO FAIRFAX DIVISION |  |  |
| SUBJECT: Training Bulletin 003 |  |  | DATE: |  | TIME: |
| MESSAGE: |  |  |  |  |  |
| BATTERY POWER Works when AC mains fail, Requires maintenance, proper charging source and venting. 14 CURRENT REQUIREMENTS for AMATEUR HF 2 Amps RX, 20 Amps TX, 6.5 Amps per Hour typical* 30 VHF Mobiles, 1 Amp RX, 10 Amps TX, 3.3 Amps per Hour typical* Based on 25% TX & 75% RX duty cycle 51 TEST to ensure greater than 12.8 Open circuit voltage with less than 0.5 Voltage drop after load test 69 batteries less than 10 amp hours load test at “C” for one minute 82 batterieslmore than 10 amp hours load test for 1 minute of full key down into a dummy load 101 Battery backup must provide not less than 1 amp hour per watt of transmitter output for a 12 hour operational period 122 |  |  |  |  |  |
| SIGNATURE: KE4SKY |  |  |  | POSITION: ARO FAIRFAX DIVISION |  |
| REPLY: |  |  |  |  |  |
| DATE: | TIME: | SIGNATURE/POSITION: |  |  |  |